## START HERE
Item | Value
Product | Industrial Fieldbook — Circuit Breakers — FREE PREVIEW
Version | V1.1
Coverage | PARTIAL — this preview shows a deliberate subset of manufacturers, families and attributes. Counts below are preview counts, not full product counts.
Manufacturers in the full product | 13
Manufacturers shown here | 3 (partial)
Families in the full product | 46
Specifications in the full product | 338
Evidence relationships in the full product | 377
Sources cited in the full product | 43
Sources checked | 2026-09-10 to 2026-09-10
What the full workbook adds | The complete family set, the full specification matrix across every well-covered attribute, the complete evidence chain with clickable sources, attribute coverage counts, and CSV/JSON exports.
UNKNOWN | Not established by the sources reviewed. Not a negative finding.
Contact | doug@industrialfieldbook.com

## PREVIEW FAMILY SCREEN
Family ID | Manufacturer | Family | Device class | Lifecycle status | Applicable standards | Continuous current max a | Interrupting rating kA | Interrupting rating | Rated voltage max kV | Interruption technology
CBF-001 | ABB Ltd | VD4 / VD4 evo | MV_VCB | CURRENT | IEC, GOST | 4000 | 63 | 16-40 kA | 46 | VACUUM
CBF-002 | ABB Ltd | VM1 | MV_VCB | CURRENT |  | 3150 | 50 |  | 24
CBF-003 | ABB Ltd | VD4-AF / VD4-AF1 | MV_VCB | CURRENT |  |  |  |  | 38 | VACUUM
CBF-004 | ABB Ltd | VD4-CS / VD4-CS1 | MV_VCB | CURRENT |  | 1250 | 31.5 |  | 38
CBF-005 | ABB Ltd | VD4G | GENERATOR_BREAKER | CURRENT | IEC/IEEE 62271-37-013 |  |  |  | 15 | VACUUM
CBF-007 | ABB Ltd | ADVAC (ANSI indoor VCB) | MV_VCB | CURRENT | ANSI | 3000 | 63 | 25-63 kA | 15
CBF-008 | ABB Ltd | ADVAC G | GENERATOR_BREAKER | CURRENT | IEEE C37.013; IEC/IEEE 62271-37-013 | 4000 | 63 |  | 15
CBF-009 | ABB Ltd | SecoVac VB2+ (GE lineage) | MV_VCB | DISCONTINUED | IEEE C37.04; C37.06; C37.20.2; C37.09 | 3000 | 40 |  | 15
CBF-010 | ABB Ltd | SACE Emax 2 (UL 1066 / ANSI C37) | LV_ACB | CURRENT | ANSI C37 / UL 1066 / CSA | 6000 | 100 | 65 kA
CBF-025 | Eaton Corporation plc | Magnum DS | LV_ACB | CURRENT | UL 1066; ANSI C37; IEC 60947-2 (ed. 4) | 6000 | 200 | Up to 200 kA
CBF-026 | Eaton Corporation plc | Magnum SB | LV_ACB | CURRENT |  |  | 150
CBF-027 | Eaton Corporation plc | Magnum IEC | LV_ACB | CURRENT | IEC 60947-2
CBF-028 | Eaton Corporation plc | Power Defense ICCB / Series NRX | ICCB | CURRENT | UL; CSA; IEC; CCC
CBF-029 | Eaton Corporation plc | VCP-W (medium-voltage vacuum) | MV_VCB | CURRENT | [5 empty] | VACUUM
CBF-030 | Eaton Corporation plc | VR-Series+ (medium-voltage replacement breaker) | SPECIALTY_RETROFIT | CURRENT | IEEE Std C37.59 (2018); C37.09
CBF-051 | ABB Ltd | HD4 | MV_VCB | CURRENT | IEC 62271-100 | 4000 | 50 |  | 40.5 | SF6

## SAMPLE EVIDENCE CHAINS
Evidence ID | Family ID | Manufacturer | Attribute | Normalized value | Exact supported claim (as published by the source) | Evidence class | Source type | Primary vs third party | Confidence | Ambiguity / caveat | Source URL | Source title | Date checked
CBE11-0007 | CBF-001 | ABB Ltd | applicable_standards | IEC, GOST | IEC, GOST | VERIFIED_DIRECT | Manufacturer product portfolio page | PRIMARY | HIGH |  | https://www.abb.com/global/en/areas/electrification/medium-voltage/grid-components/primary-vacuum-circuit-breakers | ABB Ltd - Manufacturer product portfolio page | 2026-09-10
CBE11-0009 | CBF-001 | ABB Ltd | applications | Marine; data centers; utilities; heavy industries; process industries | Marine Environments Data Centers Utilities Heavy Industries Process Industries (like chemicals) | VERIFIED_DIRECT | Manufacturer product portfolio page | PRIMARY | MEDIUM |  | https://www.abb.com/global/en/areas/electrification/medium-voltage/grid-components/primary-vacuum-circuit-breakers | ABB Ltd - Manufacturer product portfolio page | 2026-09-10
CBE11-0003 | CBF-001 | ABB Ltd | continuous_current_max_a | 4000 | up to 4,000 A | VERIFIED_DIRECT | Manufacturer product portfolio page | PRIMARY | HIGH |  | https://www.abb.com/global/en/areas/electrification/medium-voltage/grid-components/primary-vacuum-circuit-breakers | ABB Ltd - Manufacturer product portfolio page | 2026-09-10
CBVE11-007-continuous_current_range | CBF-001 |  | continuous_current_range | 630-3150 A | 12...24 kV - 630...3150 A - 16...40 kA | VERIFIED_DIRECT | Manufacturer technical catalog (PDF) | PRIMARY | HIGH |  | https://library.e.abb.com/public/050f1c7c18cd23dec125766c003835ec/TK%20521_VD4_40kA_E.pdf | ABB Ltd - Manufacturer technical catalog (PDF) | 2026-09-10

## METHODOLOGY
Item | Value
Product | Industrial Fieldbook — Circuit Breakers — FREE PREVIEW
What this product is | A structured comparison of current product families in one industrial category. Every populated value is tied to a public source. Comparison rows are drawn from manufacturer product pages, technical documents and corporate disclosures that were archived and dated at build time.
What is in the commercial view and what is not | Only evidence rows classified VERIFIED_DIRECT (the value is stated on the cited source) or DERIVED_DETERMINISTIC (the value follows mechanically from stated facts by a recorded rule) are published. Rows classified as analytic inference, unresolved conflict or status-unclear are excluded, and the count of excluded rows is disclosed in the COVERAGE tab. Exclusion is disclosed, not hidden, and it is a quality signal: a claim that could not be tied to the source is not published.
UNKNOWN and NOT ESTABLISHED | An empty cell or the word UNKNOWN means the sources reviewed did not establish the fact. It does not mean the product lacks the capability, and it is not a negative finding. Missing data is left missing rather than filled by assumption.
Dates | Every evidence row carries the date its source was checked. The COVERAGE tab states the range of those dates. This is a dated snapshot, not a live feed.
What this product does not cover | It is not a price list, lead-time guide, availability feed or procurement recommendation. It does not establish engineering suitability for your application, approved-vendor status, warranty terms, service coverage, certificate scope beyond what the source states, or export eligibility. It does not rank suppliers.