## START HERE
Item | Value
Product | Industrial Fieldbook — Data-Center Chillers — FREE PREVIEW
Version | V1.1
Coverage | PARTIAL — this preview shows a deliberate subset of manufacturers, families and attributes. Counts below are preview counts, not full product counts.
Manufacturers in the full product | 9
Manufacturers shown here | 3 (partial)
Families in the full product | 17
Specifications in the full product | 153
Evidence relationships in the full product | 163
Sources cited in the full product | 24
Sources checked | 2026-09-10 to 2026-09-10
What the full workbook adds | The complete family set, the full specification matrix across every well-covered attribute, the complete evidence chain with clickable sources, attribute coverage counts, and CSV/JSON exports.
UNKNOWN | Not established by the sources reviewed. Not a negative finding.
Contact | doug@industrialfieldbook.com

## PREVIEW FAMILY SCREEN
Family ID | Manufacturer | Family | Data center application | Refrigerant | Compressor type | Cooling capacity tons range | Oil free | Integrated free cooling | Magnetic bearing | Warm water support
PF-001 | Trane Technologies plc | Trane CenTraVac Water-Cooled Data Center Chillers (CDHH & CVHH) | yes - hyperscale / colocation / AI workload swings | R-1233zd (low-GWP) | centrifugal (multistage, direct-drive, semi-hermetic) |  |  | yes (CVHH option)
PF-002 | Trane Technologies plc | Trane Ascend Air-Cooled Data Center Chiller (Model ACR) | yes | R-1234ze (low-GWP) | variable-speed screw |  |  | yes
PF-003 | Trane Technologies plc | Trane Air-Cooled Magnetic Bearing Chiller (Model TCA) | yes - mission-critical / data center | R-515B or R-1234ze | oil-free magnetic-bearing centrifugal | 300-850 tons, up to 3MW | yes |  | yes
PF-006 | Johnson Controls International plc | YORK YZ Magnetic Bearing Centrifugal Chiller | yes - magnetic bearing water chillers in YORK data-center portfolio | R-1233zd(E), GWP of 1, A1 ASHRAE | centrifugal (variable-speed, magnetic bearing) | 150-1550 TR (530-5450 kW) | yes |  | yes | yes - chilled water supply as warm as 30C
PF-007 | Johnson Controls International plc | YORK YVAM Air-cooled Magnetic Bearing Centrifugal Chiller | yes - hyperscale and colocation data centers | ultra-low-GWP (R-1234ze) | single-stage magnetic-bearing centrifugal | 250-475 TR (880-1670 kW) | yes (lubrication-free) | not needed - magnetic bearing operates at inverted conditions | yes | yes (chilled water up to 30 C)
PF-008 | Johnson Controls International plc | YORK YDAM Air-cooled Magnetic Bearing Centrifugal Chiller (high-density) | yes - high-density data centers / AI factories |  | magnetic-bearing centrifugal |  |  |  |  | yes (45 C warm-water cooling)
PF-013 | Modine Manufacturing Company (Airedale by Modine) | Airedale TurboChill Air-Cooled Chiller (data-center) | yes - AI data centers |  | Turbocor oil-free centrifugal (TurboChill DCS)
PF-014 | Modine Manufacturing Company (Airedale by Modine) | Airedale DCS Chiller Range (Data-Center Specific, Enhanced Free Cooling) | yes - data centres (DCS range specifically optimised for data centre environments) | R-1234ze low-GWP option | Turbocor oil-free centrifugal (TurboChill DCS) |  | yes (Turbocor oil-free) | yes - enhanced (5 rows of free-cooling coils, larger EC fans, up to 39% annual savings)
PF-017 | Johnson Controls International plc | YORK YK-HT Two-Stage Centrifugal Water-Cooled Chiller (high-lift data-center) | yes - data centers and large industrial/pharma/healthcare campuses | R-1234ze and R-515B | two-stage centrifugal (single driveline)

## SAMPLE EVIDENCE CHAINS
Evidence ID | Family ID | Manufacturer | Attribute | Normalized value | Exact supported claim (as published by the source) | Evidence class | Source type | Primary vs third party | Confidence | Ambiguity / caveat | Source URL | Source title | Date checked
EV-0008 | PF-001 | Trane Technologies plc | chilled_water_supply_temp_range | 38 F to 65 F (CDHH) | Chilled-Water Range: 38°F to 65°F | VERIFIED_DIRECT | manufacturer data-center product page | manufacturer primary | High | 0 | https://www.trane.com/commercial/north-america/us/en/products-systems/chillers/data-center-chillers/centravac-data-center-chiller.html | Trane (Trane Technologies) | 2026-09-10
EV-0005 | PF-001 | Trane Technologies plc | compressor_type | centrifugal (multistage, direct-drive, semi-hermetic) | The chiller features a multistage, direct-drive, semi-hermetic compressor designed for high efficiency, with a wide operating map for flexible performance and a refrigerant-cooled motor for reliable operation | VERIFIED_DIRECT | manufacturer data-center product page | manufacturer primary | High | 0 | https://www.trane.com/commercial/north-america/us/en/products-systems/chillers/data-center-chillers/centravac-data-center-chiller.html | Trane (Trane Technologies) | 2026-09-10
EV-0002 | PF-001 | Trane Technologies plc | cooling_capacity_kw_max | 21000 kW (21 MW) | Trane CenTraVac® CDHH and CVHH chillers are engineered to meet the demanding needs of hyperscale and colocation data centers with exceptional efficiency, proven reliability, and scalable performance. With capacities up to 21MW, low-GWP refrigerant, rapid restart capability | VERIFIED_DIRECT | manufacturer data-center product page | manufacturer primary | High | 0 | https://www.trane.com/commercial/north-america/us/en/products-systems/chillers/data-center-chillers/centravac-data-center-chiller.html | Trane (Trane Technologies) | 2026-09-10
EV-0001 | PF-001 | Trane Technologies plc | cooling_capacity_tons_max | 6000+ tons (CDHH) | Cooling Capacity: CDHH 900–6000+ tons (up to 21MW) | VERIFIED_DIRECT | manufacturer data-center product page | manufacturer primary | High | 0 | https://www.trane.com/commercial/north-america/us/en/products-systems/chillers/data-center-chillers/centravac-data-center-chiller.html | Trane (Trane Technologies) | 2026-09-10

## METHODOLOGY
Item | Value
Product | Industrial Fieldbook — Data-Center Chillers — FREE PREVIEW
What this product is | A structured comparison of current product families in one industrial category. Every populated value is tied to a public source. Comparison rows are drawn from manufacturer product pages, technical documents and corporate disclosures that were archived and dated at build time.
What is in the commercial view and what is not | Only evidence rows classified VERIFIED_DIRECT (the value is stated on the cited source) or DERIVED_DETERMINISTIC (the value follows mechanically from stated facts by a recorded rule) are published. Rows classified as analytic inference, unresolved conflict or status-unclear are excluded, and the count of excluded rows is disclosed in the COVERAGE tab. Exclusion is disclosed, not hidden, and it is a quality signal: a claim that could not be tied to the source is not published.
UNKNOWN and NOT ESTABLISHED | An empty cell or the word UNKNOWN means the sources reviewed did not establish the fact. It does not mean the product lacks the capability, and it is not a negative finding. Missing data is left missing rather than filled by assumption.
Dates | Every evidence row carries the date its source was checked. The COVERAGE tab states the range of those dates. This is a dated snapshot, not a live feed.
What this product does not cover | It is not a price list, lead-time guide, availability feed or procurement recommendation. It does not establish engineering suitability for your application, approved-vendor status, warranty terms, service coverage, certificate scope beyond what the source states, or export eligibility. It does not rank suppliers.