## START HERE
Item | Value
Product | Industrial Fieldbook — Data-Center Liquid Cooling & CDU — FREE PREVIEW
Version | V1.3
Coverage | PARTIAL — this preview shows a deliberate subset of manufacturers, families and attributes. Counts below are preview counts, not full product counts.
Manufacturers in the full product | 29
Manufacturers shown here | 3 (partial)
Families in the full product | 65
Specifications in the full product | 524
Evidence relationships in the full product | 558
Sources cited in the full product | 65
Sources checked | 2026-09-10 to 2026-09-10
What the full workbook adds | The complete family set, the full specification matrix across every well-covered attribute, the complete evidence chain with clickable sources, attribute coverage counts, and CSV/JSON exports.
UNKNOWN | Not established by the sources reviewed. Not a negative finding.
Contact | doug@industrialfieldbook.com

## PREVIEW FAMILY SCREEN
Family ID | Manufacturer | Family | Lifecycle status | Product type | CDU architecture | Exact family name | Cooling capacity kW max | Form factor | Cooling target | Pump redundancy
LCF-001 | Vertiv Holdings Co. | Vertiv CoolChip CDU (liquid-to-liquid) | CURRENT - SUCCESSOR AVAILABLE | Row / in-rack / end-of-row liquid-to-liquid coolant distribution unit | liquid-to-liquid | Vertiv CoolChip CDU | 2300 | in-rack / end-of-row / perimeter | direct-to-chip and rear-door heat exchanger | redundant pumps
LCF-002 | Vertiv Holdings Co. | Vertiv CoolChip CDU 70 (liquid-to-air) | CURRENT - SUCCESSOR AVAILABLE | Liquid-to-air coolant distribution unit for air-cooled environments | liquid-to-air | Vertiv CoolChip CDU 70 | 70 |  | direct-to-chip and rear-door heat exchanger
LCF-003 | Vertiv Holdings Co. | Vertiv Liebert XDU (XDU450 / XDU1350 / XDU070) | LEGACY - successor family available | Coolant distribution unit family, liquid-to-liquid and liquid-to-air | liquid-to-liquid | Vertiv Liebert XDU450 Coolant Distribution Unit | 450 |  | chip (direct-to-chip) and rear door cooling | Redundant pumps with variable-speed control
LCF-004 | Vertiv Holdings Co. | Vertiv CoolPhase CDU | CURRENT | Liquid-to-refrigerant coolant distribution unit with pumped refrigerant economization | liquid-to-refrigerant | Vertiv CoolPhase CDU |  | modular, compact footprint; horizontal or vertical airflow | direct-to-chip; rear-door heat exchanger | variable speed pumps; dual power with reversing starter and supercap
LCF-020 | CoolIT Systems, Inc. | CoolIT CHx2000 Row CDU | CURRENT | Row-based liquid-to-liquid coolant distribution unit for AI clusters | liquid-to-liquid (facility water system fed) | CoolIT CHx2000 | 2000 |  |  | hot-swappable pumps with built-in critical component redundancies
LCF-021 | CoolIT Systems, Inc. | CoolIT CHx1500 Row CDU | CURRENT - NEW GENERATION | Row-based liquid-to-liquid coolant distribution unit (lower-capacity sibling of CHx2000)
LCF-022 | CoolIT Systems, Inc. | CoolIT CHx200 Rack CDU (Rack DLC) | CURRENT | 4U rack-mounted liquid-to-liquid coolant distribution unit | liquid-to-liquid | CoolIT CHx200 | 200 | 4U rack-mount |  | N+1 redundant pumps and power supplies
LCF-023 | CoolIT Systems, Inc. | CoolIT AHx240 Liquid-to-Air CDU | CURRENT | Highest-capacity liquid-to-air coolant distribution unit for air-cooled data centers | liquid-to-air, no facility water | CoolIT AHx240 | 240 |  |  | N+1 pump redundancy
LCF-024 | CoolIT Systems, Inc. | CoolIT AHx180 Liquid-to-Air CDU | CURRENT | Liquid-to-air coolant distribution unit in a 2-rack footprint | liquid-to-air (no facility water required) | CoolIT AHx180 | 180 |  |  | 2N pump redundancy
LCF-130 | Super Micro Computer, Inc. | Supermicro In-Rack Coolant Distribution Unit (LCS-SCDU-250L4001 / LCS-SCDU-250LP4002) | CURRENT | 4U in-rack liquid-to-liquid coolant distribution unit (EIA and OCP variants) |  | Supermicro In-Rack CDU | 250 | 4U in-rack; EIA variant and OCP variant |  | 2N pumps (EIA variant); N+1 pumps (OCP variant)
LCF-131 | Super Micro Computer, Inc. | Supermicro In-Row Coolant Distribution Unit (LCS-SCDU-1K3LR001) | CURRENT | In-row liquid-to-liquid coolant distribution unit for multi-rack deployments |  | Supermicro In-Row CDU |  |  |  | N+1 redundant pumps
LCF-132 | Super Micro Computer, Inc. | Supermicro Liquid-to-Air (L2A) Sidecar CDU | CURRENT | Liquid-to-air sidecar coolant distribution unit | liquid-to-air | Supermicro Liquid-to-Air (L2A) Sidecar CDU | 500 | sidecar |  | redundant pumps
LCF-133 | Super Micro Computer, Inc. | Supermicro DLC-2 rack-level liquid cooling architecture and closed-loop infrastructure | CURRENT | Rack-scale direct-to-chip liquid cooling architecture with modular closed-loop cooling infrastructure |  | Supermicro DLC-2

## SAMPLE EVIDENCE CHAINS
Evidence ID | Family ID | Manufacturer | Attribute | Normalized value | Exact supported claim (as published by the source) | Evidence class | Source type | Primary vs third party | Confidence | Ambiguity / caveat | Source URL | Source title | Date checked
LEV-0009 | LCF-001 | Vertiv Holdings Co. | controls | remote monitoring and communications; unit-to-unit communication | With precise temperature control, this unit can eliminate thermal shock. Have reliable operations with its redundant pumps and dual power feeds and added peace of mind with remote monitoring and communications. | VERIFIED_DIRECT | Official product page | Primary - manufacturer/OEM published | High | Protocol-level detail (Modbus/BACnet/SNMP/Redfish) is not published on these pages. | https://www.vertiv.com/en-in/products-catalog/thermal-management/high-density-solutions/vertiv-liebert-xdu070-coolant-distribution-unit/ | Vertiv CoolChip CDU 70 | 2026-09-10
LEV-0004 | LCF-001 | Vertiv Holdings Co. | cooling_capacity_kw_max | 2300 | It allows for in-rack, end of row, or perimeter placement options. Easily distribute coolant to efficiently manage power dense deployments with liquid-to-liquid heat exchange up to 100 kW, 450 kW, 600 kW, 1,350 kW, or 2,300 kW, and liquid-to-air heat exchange up to 70 kW | VERIFIED_DIRECT | Official product page | Primary - manufacturer/OEM published | High | 2,300 kW appears on the CoolChip CDU 70 page and on the EMEA launch coverage of the CoolChip CDU 2300; the US XDU450 page lists only up to 1,350 kW. Treat 2,300 kW as the current top of the ladder. | https://www.vertiv.com/en-in/products-catalog/thermal-management/high-density-solutions/vertiv-liebert-xdu070-coolant-distribution-unit/ | Vertiv CoolChip CDU 70 | 2026-09-10
LEV-0003 | LCF-001 | Vertiv Holdings Co. | cooling_capacity_kw_min | 100 | It allows for in-rack, end of row, or perimeter placement options. Easily distribute coolant to efficiently manage power dense deployments with liquid-to-liquid heat exchange up to 100 kW, 450 kW, 600 kW, 1,350 kW, or 2,300 kW, and liquid-to-air heat exchange up to 70 kW | VERIFIED_DIRECT | Official product page | Primary - manufacturer/OEM published | High | Capacity ladder is a published tier list, not a continuous range; 100 kW is the lowest published tier. | https://www.vertiv.com/en-in/products-catalog/thermal-management/high-density-solutions/vertiv-liebert-xdu070-coolant-distribution-unit/ | Vertiv CoolChip CDU 70 | 2026-09-10
LEV-0005 | LCF-001 | Vertiv Holdings Co. | cooling_target | direct-to-chip and rear-door heat exchanger | The Vertiv™ Liebert® XDU450 Coolant Distribution Unit is designed to support liquid cooling within high density environments. It is suitable for chip and rear door cooling applications | VERIFIED_DIRECT | Official product page | Primary - manufacturer/OEM published | High | Two cooling targets served by the same unit. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. ¦ CLAIM NORMALISED: the quote was rewritten to the exact wording present in the cited archived source during verification. | https://www.vertiv.com/en-us/products-catalog/thermal-management/high-density-solutions/liebert-xdu450-coolant-distribution-unit/ | 450 kW ¦ Vertiv Liebert XDU450 Coolant Distribution Unit | 2026-09-10

## METHODOLOGY
Item | Value
Product | Industrial Fieldbook — Data-Center Liquid Cooling & CDU — FREE PREVIEW
What this product is | A structured comparison of current product families in one industrial category. Every populated value is tied to a public source. Comparison rows are drawn from manufacturer product pages, technical documents and corporate disclosures that were archived and dated at build time.
What is in the commercial view and what is not | Only evidence rows classified VERIFIED_DIRECT (the value is stated on the cited source) or DERIVED_DETERMINISTIC (the value follows mechanically from stated facts by a recorded rule) are published. Rows classified as analytic inference, unresolved conflict or status-unclear are excluded, and the count of excluded rows is disclosed in the COVERAGE tab. Exclusion is disclosed, not hidden, and it is a quality signal: a claim that could not be tied to the source is not published.
UNKNOWN and NOT ESTABLISHED | An empty cell or the word UNKNOWN means the sources reviewed did not establish the fact. It does not mean the product lacks the capability, and it is not a negative finding. Missing data is left missing rather than filled by assumption.
Dates | Every evidence row carries the date its source was checked. The COVERAGE tab states the range of those dates. This is a dated snapshot, not a live feed.
What this product does not cover | It is not a price list, lead-time guide, availability feed or procurement recommendation. It does not establish engineering suitability for your application, approved-vendor status, warranty terms, service coverage, certificate scope beyond what the source states, or export eligibility. It does not rank suppliers.