## START HERE
Item | Value
Product | Industrial Fieldbook — Power Transformers — FREE PREVIEW
Version | V1.2
Coverage | PARTIAL — this preview shows a deliberate subset of manufacturers, families and attributes. Counts below are preview counts, not full product counts.
Manufacturers in the full product | 31
Manufacturers shown here | 3 (partial)
Families in the full product | 96
Specifications in the full product | 364
Evidence relationships in the full product | 364
Sources cited in the full product | 68
Sources checked | 2026-09-10 to 2026-09-10
What the full workbook adds | The complete family set, the full specification matrix across every well-covered attribute, the complete evidence chain with clickable sources, attribute coverage counts, and CSV/JSON exports.
UNKNOWN | Not established by the sources reviewed. Not a negative finding.
Contact | doug@industrialfieldbook.com

## PREVIEW FAMILY SCREEN
Family ID | Manufacturer | Family | Applications | Dry liquid | Insulation medium | Primary voltage max kV | Mounting | Mva max | KVA min | Phase
PF-T-008 | S-004 | Power transformers (conventional) |  |  |  | 1200 |  | 2750
PF-T-009 | S-004 | Distribution transformers (pole/pad/network) | Utility overhead/underground distribution, commercial/residential |  |  | 34.5 | Pole / pad / network |  | 10 | 1/3
PF-T-010 | S-004 | Safe-NET network transformers
PF-T-015 | S-006 | Medium-voltage liquid-filled padmount transformers |  | LIQUID | Liquid (oil/mineral) |  | Padmount |  | 45 | 3
PF-T-016 | S-006 | Single-phase liquid-filled padmount transformers |  | LIQUID | Liquid (oil/mineral) |  | Padmount |  | 10 | 1
PF-T-017 | S-006 | Low-voltage dry-type ventilated transformers |  | DRY | Dry-type
PF-T-018 | S-006 | Secondary unit substations (liquid-filled) | Industrial/commercial power distribution | LIQUID | Liquid (oil/mineral) |  | Unit substation
PF-T-032 | S-026 | Liquid-filled distribution transformers (padmount) | Utility & industrial underground distribution | LIQUID | Liquid (oil/mineral) | 35 | Padmount |  | 45
PF-T-033 | S-026 | Renewable padmount transformers (wind/solar) | Wind & solar collection |  |  | 35 | Padmount |  | 750
PF-T-034 | S-026 | Liquid-filled power transformers (substation, to 350 MVA) | Utility & industrial power | LIQUID | Liquid (oil/mineral) | 400 | Substation / station | 350
PF-T-035 | S-026 | Dry-type transformers (to 36.2 kV) |  | DRY | Dry-type | 36.2
PF-V11-032 | S-004 | Generator step-up (GSU) transformers | [5 empty] | 1000
PF-V11-033 | S-004 | Autotransformers (to 1200 MVA / 765 kV) |  |  |  | 765 |  | 1200 |  | 3
PF-V11-034 | S-004 | Cast coil dry-type distribution transformers | 100% RH operation, commercial/industrial | DRY | Cast resin (epoxy)
PF-V11-035 | S-004 | HVDC converter transformers |  |  |  | 800 |  | 500
PF-V11-036 | S-006 | Medium-voltage dry-type transformers | MV distribution (Cooper Power series) | DRY | Dry-type
PF-V11-037 | S-006 | Primary unit substations | Industrial/commercial primary distribution | LIQUID | Liquid (oil/mineral) |  | Unit substation (primary)
PF-V11-038 | S-006 | Single-phase overhead (pole) distribution transformers | Utility overhead distribution |  |  |  | Pole |  |  | 1

## SAMPLE EVIDENCE CHAINS
Evidence ID | Family ID | Manufacturer | Attribute | Normalized value | Exact supported claim (as published by the source) | Evidence class | Source type | Primary vs third party | Confidence | Ambiguity / caveat | Source URL | Source title | Date checked
E-V12-0006 | PF-T-002 | S-001 | mva_max | 63 | Liquid-filled small power transformers. From 5 to 63 MVA up to 170 kV. | VERIFIED_DIRECT | Official technical document (PDF) | Primary | HIGH |  | https://new.abb.com/DotNetWidgets/docs/default-source/ewea-doc/liquid-filled-small-power-transformers-from-5-to-63-mva-up-to-170kv |  | 2026-09-10
E-V12-0005 | PF-T-002 | S-001 | mva_min | 5 | Liquid-filled small power transformers. From 5 to 63 MVA up to 170 kV. | VERIFIED_DIRECT | Official technical document (PDF) | Primary | HIGH |  | https://new.abb.com/DotNetWidgets/docs/default-source/ewea-doc/liquid-filled-small-power-transformers-from-5-to-63-mva-up-to-170kv |  | 2026-09-10
E-V12-0007 | PF-T-002 | S-001 | primary_voltage_max_kv | 170 | Liquid-filled small power transformers. From 5 to 63 MVA up to 170 kV. | VERIFIED_DIRECT | Official technical document (PDF) | Primary | HIGH |  | https://new.abb.com/DotNetWidgets/docs/default-source/ewea-doc/liquid-filled-small-power-transformers-from-5-to-63-mva-up-to-170kv |  | 2026-09-10
E-V12-0010 | PF-T-003 | S-001 | enclosure | Ventilated | ABB ReliaGear XFMR LV dry type transformers; K-Factor, Low Noise, Guard I/II/III harmonic mitigating variants. | VERIFIED_DIRECT | Official product page | Primary | HIGH |  | https://electrification.us.abb.com/products/transformers-low-voltage-dry-type |  | 2026-09-10

## METHODOLOGY
Item | Value
Product | Industrial Fieldbook — Power Transformers — FREE PREVIEW
What this product is | A structured comparison of current product families in one industrial category. Every populated value is tied to a public source. Comparison rows are drawn from manufacturer product pages, technical documents and corporate disclosures that were archived and dated at build time.
What is in the commercial view and what is not | Only evidence rows classified VERIFIED_DIRECT (the value is stated on the cited source) or DERIVED_DETERMINISTIC (the value follows mechanically from stated facts by a recorded rule) are published. Rows classified as analytic inference, unresolved conflict or status-unclear are excluded, and the count of excluded rows is disclosed in the COVERAGE tab. Exclusion is disclosed, not hidden, and it is a quality signal: a claim that could not be tied to the source is not published.
UNKNOWN and NOT ESTABLISHED | An empty cell or the word UNKNOWN means the sources reviewed did not establish the fact. It does not mean the product lacks the capability, and it is not a negative finding. Missing data is left missing rather than filled by assumption.
Dates | Every evidence row carries the date its source was checked. The COVERAGE tab states the range of those dates. This is a dated snapshot, not a live feed.
What this product does not cover | It is not a price list, lead-time guide, availability feed or procurement recommendation. It does not establish engineering suitability for your application, approved-vendor status, warranty terms, service coverage, certificate scope beyond what the source states, or export eligibility. It does not rank suppliers.