## START HERE
Item | Value
Product | Industrial Fieldbook — Protective Relays & IEDs — FREE PREVIEW
Version | V1.1
Coverage | PARTIAL — this preview shows a deliberate subset of manufacturers, families and attributes. Counts below are preview counts, not full product counts.
Manufacturers in the full product | 16
Manufacturers shown here | 3 (partial)
Families in the full product | 61
Specifications in the full product | 473
Evidence relationships in the full product | 475
Sources cited in the full product | 67
Sources checked | 2026-09-10 to 2026-09-10
What the full workbook adds | The complete family set, the full specification matrix across every well-covered attribute, the complete evidence chain with clickable sources, attribute coverage counts, and CSV/JSON exports.
UNKNOWN | Not established by the sources reviewed. Not a negative finding.
Contact | doug@industrialfieldbook.com

## PREVIEW FAMILY SCREEN
Family ID | Manufacturer | Family | Product identity | Protocol set | Redundancy prp hsr | Protection breaker failure | Protection 50 51 | Protocol modbus | Time sync irigb | Lifecycle status
PF-001 | Schweitzer Engineering Laboratories, Inc. | SEL-751 Feeder Protection Relay | SEL-751 Feeder Protection Relay |  | IEC 62439 PRP and HSR on models with dual Ethernet | yes | yes | Modbus TCP and Modbus RTU |  | CURRENT
PF-002 | Schweitzer Engineering Laboratories, Inc. | SEL-411L Advanced Line Differential Protection, Automation, and Control System | SEL-411L Advanced Line Differential Protection, Automation, and Control System |  | IEC 62439-3 PRP; five-port card supports PRP, HSR or failover |  |  |  | demodulated IRIG-B time input
PF-003 | Schweitzer Engineering Laboratories, Inc. | SEL-421 Protection, Automation, and Control System | SEL-421 Protection, Automation, and Control System
PF-004 | Schweitzer Engineering Laboratories, Inc. | SEL-451 Protection, Automation, and Bay Control System | SEL-451 Protection, Automation, and Bay Control System
PF-005 | Schweitzer Engineering Laboratories, Inc. | SEL-487E Transformer Protection Relay | SEL-487E Transformer Protection Relay
PF-006 | Schweitzer Engineering Laboratories, Inc. | SEL-487B Bus Differential and Breaker Failure Relay | SEL-487B Bus Differential and Breaker Failure Relay |  |  | breaker failure (integrated with bus differential)
PF-007 | Schweitzer Engineering Laboratories, Inc. | SEL-311C Transmission Protection System | SEL-311C Transmission Protection System
PF-008 | Schweitzer Engineering Laboratories, Inc. | SEL-311L Line Current Differential Protection and Automation System | SEL-311L Line Current Differential Protection and Automation System
PF-009 | Schweitzer Engineering Laboratories, Inc. | SEL-300G Generator Relay | SEL-300G Generator Relay |  |  |  |  | Modbus | IRIG-B time code input
PF-010 | Schweitzer Engineering Laboratories, Inc. | SEL-710 Motor Protection Relay | SEL-710 Motor Protection Relay
PF-011 | GE Vernova Inc | Multilin T60 Transformer Protection System | Multilin T60 Transformer Protection System |  |  |  |  | Modbus RTU and Modbus TCP/IP
PF-012 | GE Vernova Inc | Multilin T35 Transformer Protection System | Multilin T35 Transformer Protection System
PF-013 | GE Vernova Inc | Multilin F60 Feeder Protection System | Multilin F60 Feeder Protection System |  |  |  |  | Modbus RTU and Modbus TCP/IP
PF-014 | GE Vernova Inc | Multilin G60 Generator Protection System | Multilin G60 Generator Protection System |  |  |  |  | Modbus RTU and Modbus TCP/IP
PF-015 | GE Vernova Inc | Multilin L90 Line Differential Protection System | Multilin L90 Line Differential Protection System |  |  |  |  | Modbus RTU and Modbus TCP/IP
PF-016 | GE Vernova Inc | Multilin B90 Bus Differential Protection System | Multilin B90 Bus Differential Protection System | DNP 3.0 serial and TCP/IP; IEC 60870-5-103 and IEC 60870-5-104; Modbus RTU and Modbus TCP/IP
PF-017 | GE Vernova Inc | Multilin 869 Motor Protection System | Multilin 869 Motor Protection System | IEC 61850 Ed2, IEC 62439/PRP, DNP 3.0, IEC 60870-5-103/104, Modbus RTU and TCP/IP
PF-053 | Arcteq Relays Ltd | AQ-F215 Feeder Protection Device | AQ-F215 Feeder Protection Device | IEC 60870-5-101/104, IEC 60870-5-103, Modbus RTU, Modbus TCP, DNP3, SPA | HSR/PRP on optional double Ethernet modules | 50BF/52BF circuit breaker failure protection | 50/51 non-directional overcurrent, 4 stages |  | IRIG-B on optional communication modules
PF-054 | Arcteq Relays Ltd | AQ-M215 Motor Protection Device | AQ-M215 Motor Protection Device | IEC 60870-5-101/104, IEC 60870-5-103, Modbus RTU, Modbus TCP, DNP3, SPA | HSR/PRP on optional double Ethernet modules | 50BF/52BF circuit breaker failure protection | 50/51 non-directional overcurrent, 4 stages |  | IRIG-B on optional communication modules
PF-055 | Arcteq Relays Ltd | AQ-G215 Generator Protection Device | AQ-G215 Generator Protection Device | IEC 60870-5-101/104, IEC 60870-5-103, Modbus RTU, Modbus TCP, DNP3, SPA | HSR/PRP on optional double Ethernet modules | 50BF/52BF circuit breaker failure protection | 50/51 non-directional overcurrent, 4 stages |  | IRIG-B on optional communication modules
PF-056 | Arcteq Relays Ltd | AQ-T215 Transformer Protection Device | AQ-T215 Transformer Protection Device | IEC 60870-5-101/104, IEC 60870-5-103, Modbus RTU, Modbus TCP, DNP3, SPA | HSR/PRP on optional double Ethernet modules | 50BF/52BF circuit breaker failure protection | 50/51 non-directional overcurrent, 4 stages |  | IRIG-B on optional communication modules
PF-057 | Arcteq Relays Ltd | AQ-T216 Transformer Protection Device | AQ-T216 Transformer Protection Device | IEC 60870-5-101/104, IEC 60870-5-103, Modbus RTU, Modbus TCP, DNP3, SPA | HSR/PRP on optional double Ethernet modules | 50BF/52BF circuit breaker failure protection | 50/51 non-directional overcurrent, 4 stages |  | IRIG-B on optional communication modules | CURRENT

## SAMPLE EVIDENCE CHAINS
Evidence ID | Family ID | Manufacturer | Attribute | Normalized value | Exact supported claim (as published by the source) | Evidence class | Source type | Primary vs third party | Confidence | Ambiguity / caveat | Source URL | Source title | Date checked
EV-0001 | PF-001 | Schweitzer Engineering Laboratories, Inc. | application_feeder | yes | The SEL-751 is the right solution for industrial and utility feeder protection | VERIFIED_DIRECT | manufacturer product page / data sheet / manual / corporate page | primary - manufacturer or OEM-hosted document | High |  | https://selinc.com/products/751/ |  | 2026-09-10
EV-0002 | PF-001 | Schweitzer Engineering Laboratories, Inc. | arc_flash_light_and_overcurrent | combined light and high-speed overcurrent detection | The SEL-751 offers combined light and high-speed overcurrent detection for arc-flash events | VERIFIED_DIRECT | manufacturer product page / data sheet / manual / corporate page | primary - manufacturer or OEM-hosted document | High |  | https://selinc.com/products/751/ |  | 2026-09-10
EV-0003 | PF-001 | Schweitzer Engineering Laboratories, Inc. | cyber_password_authentication | password authentication and session time-out | Improve security using the password authentication and session time-out features | VERIFIED_DIRECT | manufacturer product page / data sheet / manual / corporate page | primary - manufacturer or OEM-hosted document | High |  | https://selinc.com/products/751/ |  | 2026-09-10
EV-0004 | PF-001 | Schweitzer Engineering Laboratories, Inc. | cyber_web_server_password | password-protected built-in web server | secure, remote access to the relay with password protection | VERIFIED_DIRECT | manufacturer product page / data sheet / manual / corporate page | primary - manufacturer or OEM-hosted document | High |  | https://selinc.com/products/751/ |  | 2026-09-10

## METHODOLOGY
Item | Value
Product | Industrial Fieldbook — Protective Relays & IEDs — FREE PREVIEW
What this product is | A structured comparison of current product families in one industrial category. Every populated value is tied to a public source. Comparison rows are drawn from manufacturer product pages, technical documents and corporate disclosures that were archived and dated at build time.
What is in the commercial view and what is not | Only evidence rows classified VERIFIED_DIRECT (the value is stated on the cited source) or DERIVED_DETERMINISTIC (the value follows mechanically from stated facts by a recorded rule) are published. Rows classified as analytic inference, unresolved conflict or status-unclear are excluded, and the count of excluded rows is disclosed in the COVERAGE tab. Exclusion is disclosed, not hidden, and it is a quality signal: a claim that could not be tied to the source is not published.
UNKNOWN and NOT ESTABLISHED | An empty cell or the word UNKNOWN means the sources reviewed did not establish the fact. It does not mean the product lacks the capability, and it is not a negative finding. Missing data is left missing rather than filled by assumption.
Dates | Every evidence row carries the date its source was checked. The COVERAGE tab states the range of those dates. This is a dated snapshot, not a live feed.
What this product does not cover | It is not a price list, lead-time guide, availability feed or procurement recommendation. It does not establish engineering suitability for your application, approved-vendor status, warranty terms, service coverage, certificate scope beyond what the source states, or export eligibility. It does not rank suppliers.