## START HERE
Item | Value
Product | Industrial Fieldbook — Static Transfer Switches — FREE PREVIEW
Version | V1
Coverage | PARTIAL — this preview shows a deliberate subset of manufacturers, families and attributes. Counts below are preview counts, not full product counts.
Manufacturers in the full product | 12
Manufacturers shown here | 3 (partial)
Families in the full product | 20
Specifications in the full product | 332
Evidence relationships in the full product | 333
Sources cited in the full product | 28
Sources checked | 2026-09-10 to 2026-09-10
What the full workbook adds | The complete family set, the full specification matrix across every well-covered attribute, the complete evidence chain with clickable sources, attribute coverage counts, and CSV/JSON exports.
UNKNOWN | Not established by the sources reviewed. Not a negative finding.
Contact | doug@industrialfieldbook.com

## PREVIEW FAMILY SCREEN
Family ID | Manufacturer | Family | Product type | Lifecycle status | Rated current a min | Rated current a max | Applications | Redundant power supplies | Redundancy architecture | Standards UL 1008s
STF-001 | Vertiv Holdings Co. | Vertiv Liebert STS2 | Three-phase dual-bus static transfer switch for dual-bus UPS architectures | CURRENT | 100 | 1850 |  |  | Triple-redundant control logic; each DSP controller is capable of working independently | UL 1008S referenced on the manufacturer's STS2 brochure specification table
STF-002 | Vertiv Holdings Co. | Vertiv PowerSwitch 7000 | Solid-state, three-pole or four-pole, dual-position automatic transfer switch | CURRENT | 160 | 630 |  | Two separate power supplies on separate boards with two separate DC buses
STF-003 | Vertiv Holdings Co. | Vertiv Liebert Static Transfer Switch (legacy) | Static transfer switch (legacy platform) | DISCONTINUED
STF-007 | Eaton Corporation plc | Eaton PDI Static Transfer Switch (WaveStar) | Static transfer switch supplying critical loads from two available sources | CURRENT | 100 | 1200 |  | Triple redundant power supplies | Triple redundancy
STF-008 | Eaton Corporation plc | Eaton PDI TFA Static Transfer Switch | True front access static transfer switch | CURRENT | 250 | 1200 |  | Triple redundant power supplies | True triple internal redundancy
STF-009 | Socomec SAS | Socomec STATYS PS | Static transfer switch, 400 A to 1200 A | CURRENT | 400 | 1200 | IT, telecom and industrial applications including enterprise servers, storage, networking, telecommunications systems and diagnostic/medical devices | Triple redundant power supplies |  | UL Listed (UL 1008s)
STF-010 | Socomec SAS | Socomec STATYS Integrable | Fully integrated static transfer power unit for integration into a cabinet or PDU | CURRENT | 200 | 1200 | Data center - power availability for servers |  |  | UL 1008 S, Guide WPXT E513909
STF-011 | Socomec SAS | Socomec STATYS EVO Cabinet | Intelligent static transfer system, cabinet | CURRENT | 200 | 1800 |  | Dual redundant electronic power supply; independent SCR driver with redundant dedicated power supplies

## SAMPLE EVIDENCE CHAINS
Evidence ID | Family ID | Manufacturer | Attribute | Normalized value | Exact supported claim (as published by the source) | Evidence class | Source type | Primary vs third party | Confidence | Ambiguity / caveat | Source URL | Source title | Date checked
SEV-0010 | STF-001 | Vertiv Holdings Co. | form_factor | Stand-alone chassis | stand-alone chassis offering packaged, factory tested unit. | VERIFIED_DIRECT | Product brochure | Primary - manufacturer/OEM published | High | Brochure wording. The product is a floor-standing cabinet; the source does not use that exact term and no floor-standing claim is made. | https://www.vertiv.com/4a4cf1/globalassets/products/critical-power/static-transfer-switches/liebert-sts2-static-transfer-switch/vertiv-liebert-sts2-static-transfer-switch-brochure-sl-20600.pdf | Vertiv™ Liebert® STS2 Static Transfer Switch - Brochure (SL-20600) | 2026-09-10
SEV-0004 | STF-001 | Vertiv Holdings Co. | frequency | 50 Hz and 60 Hz | The Liebert STS2 is available in 100A, 250A, 400A, 600A, 800A, 1000A, 1200A, 1250A, 1400A, 1600A, 1800A and 1850A systems, in both 60Hz and 50Hz. | VERIFIED_DIRECT | Product page | Primary - manufacturer/OEM published | High | Stated inside the rating enumeration sentence. | https://www.vertiv.com/en-us/products-catalog/critical-power/static-transfer-switches/liebert-sts2-statictransfer-switch/ | Vertiv™ Liebert® STS2 - Static Transfer Switch | 2026-09-10
SEV-0011 | STF-001 | Vertiv Holdings Co. | front_service_access | Front access to all components | Front access to all components provides simplifies installation and maintenance, and reduces amount of floorspace required for access. | VERIFIED_DIRECT | Product page | Primary - manufacturer/OEM published | High | Verbatim source sentence including its original grammatical defect; the quote is preserved faithfully rather than cleaned. | https://www.vertiv.com/en-us/products-catalog/critical-power/static-transfer-switches/liebert-sts2-statictransfer-switch/ | Vertiv™ Liebert® STS2 - Static Transfer Switch | 2026-09-10
SEV-0014 | STF-001 | Vertiv Holdings Co. | fuseless_design | 100% rated, fuse less design | 100% rated, fuse less design. | VERIFIED_DIRECT | Product page | Primary - manufacturer/OEM published | High | Quoted as published, including the manufacturer's spacing of 'fuse less'. | https://www.vertiv.com/en-us/products-catalog/critical-power/static-transfer-switches/liebert-sts2-statictransfer-switch/ | Vertiv™ Liebert® STS2 - Static Transfer Switch | 2026-09-10

## METHODOLOGY
Item | Value
Product | Industrial Fieldbook — Static Transfer Switches — FREE PREVIEW
What this product is | A structured comparison of current product families in one industrial category. Every populated value is tied to a public source. Comparison rows are drawn from manufacturer product pages, technical documents and corporate disclosures that were archived and dated at build time.
What is in the commercial view and what is not | Only evidence rows classified VERIFIED_DIRECT (the value is stated on the cited source) or DERIVED_DETERMINISTIC (the value follows mechanically from stated facts by a recorded rule) are published. Rows classified as analytic inference, unresolved conflict or status-unclear are excluded, and the count of excluded rows is disclosed in the COVERAGE tab. Exclusion is disclosed, not hidden, and it is a quality signal: a claim that could not be tied to the source is not published.
UNKNOWN and NOT ESTABLISHED | An empty cell or the word UNKNOWN means the sources reviewed did not establish the fact. It does not mean the product lacks the capability, and it is not a negative finding. Missing data is left missing rather than filled by assumption.
Dates | Every evidence row carries the date its source was checked. The COVERAGE tab states the range of those dates. This is a dated snapshot, not a live feed.
What this product does not cover | It is not a price list, lead-time guide, availability feed or procurement recommendation. It does not establish engineering suitability for your application, approved-vendor status, warranty terms, service coverage, certificate scope beyond what the source states, or export eligibility. It does not rank suppliers.